## IAQ
Beacon Number | Stage | Connected Devices | [6 empty] | Data Collection |  |  |  | Data on AWS |  | Condition |  | Notes | Tasks
|  | SCD30 - 61 | RTC - 68/UU | SPS30 - 69 | SVM30 - SGP - 70 | TSL - 29 | USB0 | USB1 | log_2 Updated | log_3 Updated | Data in Adafruit | Data in Sensirion | Adafruit | Sensirion | Sensors | Data |  | Replace | Connections | Update
0 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
1 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
2 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
3 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
4 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
5 | Deployed | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two |  |  |  | RTC
6 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
7 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
8 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
9 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
10 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
11 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
12 | Deployed | No | Yes | No | Yes | No | No | No | Yes | Yes | Yes | Yes | No | Yes | All Sensors Detected | No Information
13 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
14 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
15 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | All Sensors Detected | No Information
16 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
17 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | All Sensors Detected | No Information
18 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
19 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
20 | Deployed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two | This beacon has the TSL with pushed through pins
21 | Debugging | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | 3 Sensors Detected | Local Only | Bad PCB? | PCB
22 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
23 | Calibrating | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | All Sensors Detected | AWS for Two |  |  |  | RTC
24 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
25 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
26 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
27 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All Sensors Detected | AWS for Two
28 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
29 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
30 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
31 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
32 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
33 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
34 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | No | No | 5 Sensors Detected | No Information | Need NO2
35 | Calibrating | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | No | No | No | 4 Sensors Detected | No Information | Need NO2 |  | PCB
36 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
37 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | No | No | 5 Sensors Detected | No Information | Need NO2
38 | Calibrating | Yes | Yes | Yes | No | Yes | No | No | Yes | Yes | No | No | No | No | 4 Sensors Detected | No Information | Need NO2, CO, and SVM30 |  | SVM30
39 | Calibrating | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | No | No | 4 Sensors Detected | No Information | Need NO2; not sure what was wrong but the SCD30 nearly burned me… |  | PCB
40 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | No | No | 5 Sensors Detected | No Information | Need NO2
41 | Debugging | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
42 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
43 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
44 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | 5 Sensors Detected | AWS for One | Need NO2
45 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | 5 Sensors Detected | AWS for Two | Need NO2
46 | Calibrating |  | No | [5 empty] | No | No | No | No | No | No | No Information | No Information | Need NO2
47 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | No | No | 5 Sensors Detected | No Information | TSL2561, NO2
48 | Calibrating | Yes | Yes | Yes | Yes | No | Yes | No | Yes | Yes | No | No | No | No | 4 Sensors Detected | No Information | Need NO2 |  | TSL
49 | Calibrating | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | No | No | 5 Sensors Detected | No Information | Need NO2
50 | No Information |  | No | [5 empty] | No | No | No | No | No | No | No Information | No Information | Need NO2; Rpi/housing is ready, but we have no sensors
BIG Notes |  | The spec sensors need to be zeroed (assuming the concentration is in fact zero) and need to see why sps30 works on 00 but none of the others - connections?
|  | USB0 |  | NO2
| No Information | USB1 |  | CO | [10 empty] | No Information | No Information
| Software | [13 empty] | No Sensors Detected | Local Only
| Hardware | [13 empty] | 1 Sensor Detected | AWS for One
| Building | [13 empty] | 2 Sensors Detected | AWS for Two
| Debugging | [13 empty] | 3 Sensors Detected
| Calibrating | [13 empty] | 4 Sensors Detected
| Waiting Deployment | [13 empty] | 5 Sensors Detected
| Deployed | [13 empty] | All Sensors Detected
Cutting

## IAQ_Calibration
Beacon Number | IP4 | Variable/Sensor | [5 empty] | Notes
|  | PM - SPS30 | CO2 - SCD30 | CO - DGS | NO2 - DGS | TVOC - SVM30 | T/RH - SCD30
0 | 25.71.160.203 | No Information | No Information | No Information | No Information | No Information | No Information
1 | 25.75.236.39 | No Information | No Information | No Information | No Information | No Information | No Information
2 | 25.51.73.124 | No Information | No Information | No Information | No Information | No Information | No Information
3 | 25.70.44.240 | No Information | No Information | No Information | No Information | No Information | No Information
4 | 25.79.58.116 | No Information | No Information | No Information | No Information | No Information | No Information
5 | 25.78.210.40 | No Information | No Information | No Information | No Information | No Information | No Information
6 | 25.71.233.56 | No Information | No Information | No Information | No Information | No Information | No Information
7 | 25.0.86.229 | No Information | No Information | No Information | No Information | No Information | No Information
8 | 25.5.3.13 | No Information | No Information | No Information | No Information | No Information | No Information
9 | 25.57.249.112 | No Information | No Information | No Information | No Information | No Information | No Information
10 | 25.64.1.9 | No Information | No Information | No Information | No Information | No Information | No Information
11 | 25.7.85.28 | No Information | No Information | No Information | No Information | No Information | No Information
12 | 25.53.33.39 | No Information | No Information | No Information | No Information | No Information | No Information
13 | 25.59.236.243 | No Information | No Information | No Information | No Information | No Information | No Information
14 | 25.6.250.194 | No Information | No Information | No Information | No Information | No Information | No Information
15 | 25.55.163.224 | No Information | No Information | No Information | No Information | No Information | No Information
16 | 25.72.188.213 | No Information | No Information | No Information | No Information | No Information | No Information
17 | 25.68.193.45 | No Information | No Information | No Information | No Information | No Information | No Information
18 | 25.65.30.116 | No Information | No Information | No Information | No Information | No Information | No Information
19 | 25.53.197.110 | No Information | No Information | No Information | No Information | No Information | No Information
20 | 25.54.240.8 | No Information | No Information | No Information | No Information | No Information | No Information
21 | 25.64.100.44 | No Information | No Information | No Information | No Information | No Information | No Information
22 | 25.51.213.109 | No Information | No Information | No Information | No Information | No Information | No Information
23 | 25.53.4.69 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
24 | 25.54.1.125 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
25 | 25.68.154.64 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
26 | 25.57.103.133 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
27 | 25.62.240.161 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
28 | 25.63.97.85 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
29 | 25.65.235.106 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
30 | 25.66.203.221 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
31 | 25.67.251.101 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
32 | 25.69.42.41 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
33 | 25.70.19.225 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
34 | 25.57.207.209 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
35 | 25.62.217.251 | No Information | No Information | No Information | Non-Responsive Sensor | No Information | No Information
36 | 25.55.172.39 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
37 | 25.63.129.88 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
38 | 25.66.195.236 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
39 | 25.71.88.220 | No Information | No Information | No Information | Non-Responsive Sensor | No Information | No Information
40 | 25.58.10.97 | No Information | No Information | No Information | Non-Responsive Sensor | No Information | No Information
41 | 25.78.249.106 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
42 | 25.92.28.110 | No Information | No Information | No Information | Sensor Zeroed | No Information | No Information
43 | 25.92.30.28 | No Information | No Information | No Information | No Information | No Information | No Information
44 | 25.92.30.167 | No Information | No Information | No Information | No Information | No Information | No Information
45 | 25.92.32.71 | No Information | No Information | No Information | No Information | No Information | No Information
46 | 25.63.30.108 | No Information | No Information | No Information | No Information | No Information | No Information
47 | 25.92.32.92 | No Information | No Information | No Information | No Information | No Information | No Information
48 | 25.92.35.49 | No Information | No Information | No Information | No Information | No Information | No Information
49 | 25.92.35.63 | No Information | No Information | No Information | No Information | No Information | No Information
50 | 25.68.160.73 | No Information | No Information | No Information | No Information | No Information | No Information
No Information
Data Gathered
Sensor Zeroed
Sensor Spanned
Correction Factor Applied
Machine Learning Applied
Non-Responsive Sensor

## BB2
Beacon Number | Stage | Connected Devices |  |  |  |  | Data Collection |  |  | Condition |  | Notes | Tasks
|  | SHT31D - 44 | PMS5003 | SGP - 58 | LED - 3c | RTC - UU | Local | Grafana | AWS | Sensors | Data |  | Replace | Connections | Update
1 | Out of Comission | No | No | No | No | No | No | No | No | No Information
2 | Out of Comission | No | No | No | No | No | No | No | No | No Information
3 | Out of Comission | No | No | No | No | No | No | No | No | No Information
4 | Debugging | Yes | No | Yes | Yes | Yes | No | Yes | No | All Sensors Detected |  | Connection issues |  | All but sht31d
5 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | All Sensors Detected |  |  |  | sgp30
6 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | All Sensors Detected |  |  |  | sgp30
7 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | All Sensors Detected |  |  |  | pms5003, sgp,30
8 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | All Sensors Detected |  | Not connected to hamachi
9 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | All Sensors Detected |  |  |  | pms5003
10 | Out of Comission | No | No | No | No | No | No | No | No | No Information
11 | Out of Comission | No | No | No | No | No | No | No | No | No Information
12 | Out of Comission | No | No | No | No | No | No | No | No | No Information
13 | Out of Comission | No | No | No | No | No | No | No | No | No Information
14 | Waiting Deployment | No | No | No | No | No | No | No | No | No Information
15 | Out of Comission | No | No | No | No | No | No | No | No | No Information
16 | Waiting Deployment | Yes | Yes | No | Yes | Yes | Yes | Yes | No | 4 Sensors Detected |  | Actually detects BLE; Can't detect sgp30 but still stores data? |  | sgp30
17 | Out of Comission | No | No | No | No | No | No | No | No | No Information
18 | Waiting Deployment | Yes | Yes | No | Yes | Yes | Yes | Yes | No | 4 Sensors Detected |  | Actually detects BLE; Can't detect sgp30 but still stores data? |  | sgp30
19 | Out of Comission | No | No | No | No | No | No | No | No | No Information
20 | Waiting Deployment | Yes | Yes | Yes | Yes | Yes | Yes | No | No | 3 Sensors Detected |  | Can't detect sgp30 but still stores data? |  | sgp30
| Out of Comission | [8 empty] | No Information
| Building | [8 empty] | No Sensors Detected
| Debugging | [8 empty] | 1 Sensor Detected
| Calibration | [8 empty] | 2 Sensors Detected
| Waiting Deployment | [8 empty] | 3 Sensors Detected
| Deployed | [8 empty] | 4 Sensors Detected
All Sensors Detected

## MACs
Name | MAC Address | Password
IAQ_Beacon_41 | b8:27:eb:b1:15:66 | 1809 9900 7266 5040 | Zoltan
IAQ_Beacon_42 | b8:27:eb:44:e4:90 | 5689 7272 6267 6956 | Zoltan
IAQ_Beacon_43 | b8:27:eb:0f:67:2c | 3905 7746 8160 8093 | Zoltan
IAQ_Beacon_44 | b8:27:eb:78:d3:17 | 3304 4191 2945 1787 | Zoltan
IAQ_Beacon_45 | b8:27:eb:56:4b:53 | 8978 8391 3441 4580 | Zoltan
IAQ_Beacon_46 | b8:27:eb:a4:fa:bc | is already registered | Group
IAQ_Beacon_47 | b8:27:eb:f4:fd:c9 | 6113 2204 1073 4946 | Zoltan
IAQ_Beacon_48 | b8:27:eb:59:d2:33 | 6393 8155 4986 0205 | Zoltan
IAQ_Beacon_49 | b8:27:eb:6d:33:c0 | 7625 0909 8545 4022 | Zoltan
IAQ_Beacon_50 | b8:27:eb:3c:ab:5c | is already registered | Group